BIOSAFETY SELF-ASSESSMENT CHECKLIST

This checklist must be completed annually by 1st March by the supervisor for each laboratory working with biologically hazardous materials (e.g. microorganisms / animals / plants / human specimens) to ensure that biosafety requirements are being implemented appropriately.

| Inspection Team: |
| --- |
| Laboratory Room No: | Laboratory Supervisor: | Inspection Date: |

| CRITERIA | YES | NO | N/A |
| --- | --- | --- | --- |
| RISK |
| Have the risk groups for all biologically hazardous materials used in the laboratory been determined? |  |  |  |
| Has the UOW Risk Group Register been completed for this laboratory and does it include all the risk groups as per Step 1 above? |  |  |  |
| Has the completed Risk Group Register been filed with the school manager or equivalent? |  |  |  |
| SIGNAGE |
| Has the correct signage been placed outside the laboratory entrances indicating physical containment levels, entry requirements and warning symbols? |  |  |  |
| Has the biohazard symbol been attached to equipment containing biological hazardous material? e.g. fridges, freezers, liquid nitrogen dewars. |  |  |  |
| OGTR |
| If working with GMOs, has the correct OGTR signage been placed on the laboratory entrances? |  |  |  |
| Do Risk Assessments (RAs) and Safe Work Procedures (SWPs) for the OGTR PC2 laboratory identify reporting requirements to the OGTR for any unintentional release from the facility or during transportation from the facility? |  |  |  |
| Are all storage vessels containing GMOs labelled with contact details of the person responsible for the dealings? |  |  |  |
| Are there records of GMOs exact location? |  |  |  |
| Have the appropriate OGTR approvals for all recombinant DNA procedures undertaken in the laboratory been obtained? |  |  |  |
| AQIS |
| If working with quarantinable material, has correct AQIS signage been placed at laboratory entrances and AQIS work practices followed? |  |  |  |
| Have AQIS work practices been followed? |  |  |  |
| WORK PRACTICES |
| Have correct work practices been followed for the type of work being performed in the laboratory (e.g. PC1 or PC2 work practices)? |  |  |  |
| Have these work practices been documented on SafetyNet as an SWP? |  |  |  |
| If working in a PC2 facility, has entry been restricted to only authorised users, and has a register listing all authorized persons been posted at the laboratory entrance? |  |  |  |
| Does the laboratory have a safety manual specific to its needs? |  |  |  |
| TRAINING |
| Have all users of the PC2 facilities been trained to ensure they can work safely in the facility? |  |  |  |
| Does the training include: |  |  |  |
| laboratory induction |  |  |  |
| training in handling pathogens |  |  |  |
| correct use of personal protective equipment (PPE) |  |  |  |
| immunisation requirements |  |  |  |
| operation of specific equipment |  |  |  |
| emergency plans, spill cleanups (includes correct spill kits for each lab) |  |  |  |
| biosafety training |  |  |  |
| completing the online quiz if working in an OGTR laboratory |  |  |  |
| animal handling courses where necessary |  |  |  |
| ethics requirements? |  |  |  |
| RECORD KEEPING |
| Have training records been kept? |  |  |  |
| Have immunisation records been kept (confidential material)? |  |  |  |
| PURCHASING |
| Was the containment level of the facility suitable for the risk groups of biologically hazardous materials being purchased / obtained? |  |  |  |
| Have RAs been completed to identify and control any hazards before purchasing / obtaining biologically hazardous materials? |  |  |  |
| RISK ASSESSMENTS AND SAFE WORK PROCEDURES |
| Were RAs readily available and do they demonstrate that all biologically hazardous materials are being adequately controlled? |  |  |  |
| Have RAs been approved by the laboratory supervisor? |  |  |  |
| Were SWPs available for all standardised procedures carried out in the laboratory (SWPs must also be written for any equipment that generates aerosols such as vortexing, sonicating, pipetting)? |  |  |  |
| Have SWPs been reviewed by competent personnel familiar with the procedures and approved by the laboratory supervisor? |  |  |  |
| Are SWPs listed on SafetyNet? |  |  |  |
| IMMUNITY |
| Have laboratory personnel been informed of the potential risks when working with infectious or potentially infectious microorganisms while pregnant, considering pregnancy, immuno-compromised or immuno-suppressed? |  |  |  |
| Have laboratory personnel provided immunisation records or signed a Decline of Immunisation form? |  |  |  |
| BIOLOGICAL WASTE |
| Have correct disposal procedures been used for biologically hazardous waste? |  |  |  |
| Have Waste Tracking Logs been completed? |  |  |  |
| LABORATORY DECOMMISSIONING |
| Were staff familiar with PC2 laboratory decommissioning procedures? |  |  |  |
| VISITORS AND CONTRACTORS |
| Was there a laboratory induction for visitors and contractors to the laboratory? |  |  |  |
| Was PPE available for visitors? |  |  |  |
| TRANSPORT |
| Were all laboratory personnel aware of the requirements for transporting biologically hazardous materials? |  |  |  |
| Were laboratory personnel able to identify the people qualified to pack biologically hazardous materials for transport by road, rail or air? |  |  |  |
| GENERAL |
| Were all laboratory personnel aware of the current local biosafety representatives? |  |  |  |
| Were laboratory personnel aware of biosafety information available on the WHS website? |  |  |  |
| DEFINITIONS |
| OGTR: Office of Gene Technology Regulator PC1/PC2: Physical Containment Level 1 or 2 GMO: Genetically Modified Organism QAP: Quarantine Approved Premises SWP: Safe Work Procedure RA: Risk Assessment AQIS: Australian Quarantine and Inspection Services PPE: Personal Protective Equipment SafetyNet UOW online system for hazard and incident reporting |

The completed document must be filed in the local area WHS Records Index in accordance with the WHS Records Handling Guidelines.